## Sheet1
Anti Ligature Risk Assessment | Last Update 09/10/2024
Anti Ligature Risk Assessment | Ligature Point No. | Room No. | Location | Room Type | Ligature Point | Room Designation Rating (1 to 3) | Patient Profile Reading (1 to 3) | Ligature Point Rating (3) | Compensatory Factors Rating (1 to 3) | Total | Potential Action Required | Agreed / Rejected | Cost | Who | When
| 1 | 3 | Ward 3 | Single Patient Room | Suspended Ceiling Void | [5 empty] | Mitigated |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 3 | 2 | 54 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 2 | 3 | Ward 3 | Single Patient Room | Service cover to wash hand basin | [5 empty] | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 3 | 2 | 54 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 3 | 3 | Ward 3 | Single Patient Room | Wipe board | [5 empty] | Removed |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 3 | 2 | 54 |  | Agreed
| 4 | 3 | Ward 3 | Single Patient Room | Paper Holder | [5 empty] | Removed |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Agreed
| 5 | 3 | Ward 3 | Single Patient Room | Sink Taps | [5 empty] | Replace and Renew as per toilet facility |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 6 | 3 | Ward 3 | Single Patient Room | Soap Dispensers | [5 empty] | Remove. Replace with free standing units |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 7 | 3 | Ward 3 | Single Patient Room | Sink pipework and sink basin | [5 empty] | Box in Pipes |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 8 | 3 | Ward 3 | Single Patient Room | Curtain track | [5 empty] | Replace with Anti Ligature Track |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 3 | 2 | 54 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 9 | 3 | Ward 3 | Single Patient Room | Window Handles | [5 empty] | Investigate alternatives |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 10 | 3 | Ward 3 | Single Patient Room | Window restrictor | [5 empty] | Investigate alternatives |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 11 | 3 | Ward 3 | Single Patient Room | Radiator | [5 empty] | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 12 | 3 | Ward 3 | Single Patient Room | Waste bin | [5 empty] | Remove when used as a place of safety |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Agreed
| 13 | 3 | Ward 3 | Single Patient Room | Storage Unit external fixtures and fittings | [5 empty] | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 3 | 2 | 54 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 14 | 3 | Ward 3 | Single Patient Room | Storage Unit Doors and hinges | [5 empty] | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 15 | 3 | Ward 3 | Single Patient Room | Medical gases pipework and fixings | [5 empty] | Protect. Box in pipes. |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 3 | 2 | 54 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 16 | 3 | Ward 3 | Single Patient Room | Patient call system | [5 empty] | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36
| 17 | 3 | Ward 3 | Single Patient Room | Various rails and fittings | [5 empty] | Remove |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 18 | 3 | Ward 3 | Single Patient Room | Bed | [5 empty] | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 19 | 3 | Ward 3 | Single Patient Room | Ward door upper edge | [5 empty] | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 20 | 3 | Ward 3 | Single Patient Room | Door handle | [5 empty] | Find replacement. |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 21 | 3 | Ward 3 | Single Patient Room | Door ventilation Hatch | [5 empty] | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 22 | 3 | Ward 3 | Single Patient Room | Toilet door top | [5 empty] | Replace door with saloon type. |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 23 | 3 | Ward 3 | Single Patient Room | Toilet door handle | [5 empty] | Replace door with saloon type. |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 24 | 3 | Ward 3 | Single Patient Room | Portable bedside cabinet | [5 empty] | Remove when used as a place of safety. |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Agreed
| 25 | 3 | Ward 3 | Toilet shower in single patient room | Ceiling ventilation system | A | A | A | B |  | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 3 | 2 | 54 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 26 | 3 | Ward 3 | Toilet shower in single patient room | Ceiling access hatch | A | A | A | B |  | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 3 | 2 | 54 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 27 | 3 | Ward 3 | Toilet shower in single patient room | Light fitting | A | A | B | ? |  | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 28 | 3 | Ward 3 | Toilet shower in single patient room | Service cover to wash hand basin ETC. | [5 empty] | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 29 | 3 | Ward 3 | Toilet shower in single patient room | Mirror | [5 empty] | Remove and Renew |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 30 | 3 | Ward 3 | Toilet shower in single patient room | Towel dispenser | [5 empty] | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 31 | 3 | Ward 3 | Toilet shower in single patient room | Soap and toilet roll dispenser | [5 empty] | Remove and Renew with stand alone units. |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 32 | 3 | Ward 3 | Toilet shower in single patient room | Sink and sink pipework | [5 empty] | Box in pipes. |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 33 | 3 | Ward 3 | Toilet shower in single patient room | WC | [5 empty] | Manage |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 34 | 3 | Ward 3 | Toilet shower in single patient room | Toilet door edge | [5 empty] | Replace door with saloon type. |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 35 | 3 | Ward 3 | Toilet shower in single patient room | Toilet door Hook | [5 empty] | Replace door with saloon type. |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36
| 36 | 3 | Ward 3 | Toilet shower in single patient room | Toilet door handle | [5 empty] | Replace door with saloon type. |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
| 37 | 3 | Ward 3 | Toilet shower in single patient room | Toilet radiator and shelf | [5 empty] | Box in Radiator. Manage shelf. |  | N/A | Director of Accute & Specialist Services | N/A
[6 empty] | 3 | 3 | 2 | 2 | 36 |  | Rejected. Risk mitigated by One to One observation of room occupant.
Room 3 is not a dedicated mental health room and is only used for patients who require other medical interventions above and beyond mental health care | There is a low stimulas room provided on the ground floor of the GBH which is managed by the Mental Health Team |  |  | Management of MH patients in ward 3 is provided by one to one observation to mitigate the risks from ligiture points in an accute hospital ward |  |  |  | Date | 2024-10-09 | Auditors: | L.Green

## Sheet2
CALCULATING THE RISK
In order to determine the level of risk a prioritisation score is given to each location.
How to score the risk: Multiply the Room Designation Score x Patient Population Profile x Ligature Anchor Point Rating x Compensation factor.
Example 1 Bedroom (room designation), acute inpatient (patient population profile), and weight-bearing coat hooks at head height (ligature anchor point), and no permanent staff supervision (no compensatory factors): 3 x 3 x 3 x 3 = 81.
The maximum score for any ligature point is 81.
Example 2 Exposed pipes at just above floor level (below 700 mm) rather than coat hooks in such a room would mean a score of: 3x 3 x 3 x 3 = 81.