## Sheet1
Call No | Call Desc | Caller | Tel No | Call Category | Site | Building | Contract | Assign Job To | Status | Attended | Resolved | Target Attend | Target Resolve | Resolved Calls Warning | Activated Call Warning | Made Safe
54789 | Scalloway Vets require clinical waste pickup | Martin | 3028 | Repair | PHARMACIES | VETS |  | RABHI | ACT |  |  | 2023-02-16 15:05 | 2023-02-17 15:05
54788 | Scalloway Vets require a clinical waste pickup | Martin | 3028 | Repair | PHARMACIES | VETS |  | RABHI | ACT |  |  | 2023-02-16 15:02 | 2023-02-17 15:02
54787 | Light flickering and buzzing in main corridor | Martin | 3028 | Repair | GBH | WARD1 |  | MILLER | ACT |  |  | 2023-02-15 15:20 | 2023-02-18 12:50
54786 | Blocked bath drain | Nicole Shearer |  | ESTATES | ACCOM | BLOCK 2 |  | WINKS | ACT |  |  | 2023-02-16 09:00 | 2023-02-18 15:00
54785 | Air Con Unit not working | Janet Graham | 3368 | Repair | GBH | LABORATORY |  | MIDDLETON | ACT |  |  | 2023-02-15 13:26 | 2023-02-18 10:57
54784 | Water heater not heating up | Fiona | 3399 | Repair | GBH | CATERING |  | MILLER | ACT |  |  | 2023-02-15 13:24 | 2023-02-18 10:54
54783 | Dishwasher not working | Fiona | 3399 | Repair | GBH | CATERING |  | MARTIN | ACT |  |  | 2023-02-15 13:21 | 2023-02-18 10:52
54782 | sINK LEAKING IN DAY SURGERY | Janet Graham | 3037 | Repair | GBH | DAYSURGERY |  | WINKS | ACT |  |  | 2023-02-15 11:34 | 2023-02-18 09:04
54781 | Lighting needs isolated in room 2 | Martin |  | Repair | GBH | X-RAY |  | MILLER | ACT |  |  | 2023-02-15 10:39 | 2023-02-18 08:09
54780 | Fira alarm bleeping at Breiwick | Karen | 3663 | Repair | BREIWICK | CAMHS |  | MARTIN | ACT |  |  | 2023-02-15 09:59 | 2023-02-17 16:00
54779 | Investigate DDC cable issue for BMS | Martin |  | Repair | GBH | ESTATES |  | MILLER | ACT |  |  | 2023-02-15 09:40 | 2023-02-17 15:41
54778 | Lift has been reported as not working | Ingrid Gallacher | 3663 | ESTATES | BREIWICK |  |  | MARTIN | ACT |  |  | 2023-02-15 09:00 | 2023-02-17 15:00
54777 | pipe not attached to X ray scrubber | Lee James |  | HOTEL SERVICES | GBH | A&EDEPT |  | MIDDLETON | ACT |  |  | 2023-02-15 09:00 | 2023-02-17 15:00
54776 | Pick up of clinical waste from | Janet Graham | 3028 | Repair | GBH | ESTATES |  | RABHI | ACT |  |  | 2023-02-23 14:57 | 2023-03-06 14:57
54775 | Shower head fastening broken | Nicole Shearer |  | ESTATES | ACCOM | BREIWICK |  | WINKS | ACT |  |  | 2023-02-14 15:55 | 2023-02-17 13:25
54774 | Male toilet | Natasha Watt |  | ESTATES | LERWICKH/C | MENTALHLTH |  | WINKS | ACT |  |  | 2023-02-14 14:26 | 2023-02-17 11:56
54772 | Sink not draing away | Rachel | 3011 | Repair | GBH | LABORATORY |  | WINKS | ACT |  |  | 2023-02-14 13:01 | 2023-02-17 10:32
54771 | Change over autoclaves | Martin |  | Repair | DENTAL | GBH |  | FRASER | ACT |  |  | 2023-02-14 11:10 | 2023-02-17 08:40
54770 | Attend estates meeting | Martin |  | Repair | GBH | CDU |  | FRASER | ACT |  |  | 2023-02-14 11:08 | 2023-02-17 08:39
54769 | Leak on Vision 2 | Martin |  | Repair | GBH | CDU |  | FRASER | ACT |  |  | 2023-02-15 10:08 | 2023-02-16 10:08
54768 | Vision chemicals out of range | Martin |  | Repair | GBH | CDU |  | FRASER | ACT |  |  | 2023-02-14 11:06 | 2023-02-17 08:37
54767 | Change Vision chemicals | Martin |  | Repair | GBH | CDU |  | FRASER | ACT |  |  | 2023-02-14 11:05 | 2023-02-17 08:35
54766 | Flush CDU washers and taps after water shutdown | Martin |  | Repair | GBH | CDU |  | FRASER | ACT |  |  | 2023-02-15 10:04 | 2023-02-16 10:04
54765 | Toilet at reception has a broken flush | Martin |  | Repair | GBH | MATERNITY |  | WINKS | ACT |  |  | 2023-02-14 11:02 | 2023-02-17 08:32
54764 | Cut back and isolate pipework in old workshop | Martin | 3308 | Repair | GBH | ESTATES |  | WINKS | ACT |  |  | 2023-02-14 10:59 | 2023-02-17 08:29
54763 | -X-RAY UNIT NOT WORKING | Gwen Farmer | 3235 | Repair | DENTAL | MONTFIELD |  | FRASER | ACT |  |  | 2023-02-14 10:16 | 2023-02-16 16:17
54762 | Leak in the Staff Room cupboard again | Janet Graham | 3220 | Repair | DENTAL | MONTFIELD |  | HALCROW | ACT |  |  | 2023-02-14 09:46 | 2023-02-16 15:47
54761 | Toilet cannot flush | Kirsty | 3120 | Repair | GBH | MATERNITY |  | WINKS | ACT |  |  | 2023-02-15 09:21 | 2023-02-19 21:51
54760 | Nurses room door handle faulty | Janet Graham | 3397 | Repair | GBH | CHLDHEALTH |  | REID | ACT |  |  | 2023-02-14 16:10 | 2023-02-19 20:10
54759 | Toilet blocked servery | Janet Graham | 3028 | Repair | GBH | CATERING |  | WINKS | ACT |  |  | 2023-02-13 13:59 | 2023-02-15 12:30
54758 | Fault in both dental suites | Janet Graham | 3028 | Repair | DENTAL | GBH |  | FRASER | ACT |  |  | 2023-02-13 12:36 | 2023-02-15 11:51
54757 | Light above the cooker is out | Susan | 3106 | Repair | GBH | CATERING |  | MILLER | ACT |  |  | 2023-02-13 10:17 | 2023-02-15 08:47
54756 | domestic office hoover | Marie Terris |  | HOTEL SERVICES | GBH | BASEMENT |  | MILLER | ACT |  |  | 2023-02-13 10:21 | 2023-02-15 08:51
54755 | Adapter pin stuck in electric socket in LDU room | Susan Davidson | 01806 522461 | ESTATES | DENTAL | BRAE |  | MILLER | ACT |  |  | 2023-02-13 10:18 | 2023-02-15 08:48
54754 | Drain compressors and traps on autoclaves | Martin | 3308 | Repair | GBH | CDU |  | FRASER | ACT |  |  | 2023-02-13 10:05 | 2023-02-15 08:36
54753 | Door handle needs replaced | Martin | 3308 | Repair | DENTAL | MONTFIELD |  | FRASER | ACT |  |  | 2023-02-13 10:04 | 2023-02-15 08:34
54752 | Toilet seat broken in changing room 2 | Martin | 3308 | Repair | GBH | NURSE SERV |  | HALCROW | ACT |  |  | 2023-02-13 09:42 | 2023-02-15 08:13
54751 | Tap leaking in room 2 | Martin | 3308 | Repair | GBH | WARD3 |  | HALCROW | ACT |  |  | 2023-02-13 09:40 | 2023-02-15 08:11
54750 | Toiletseat has come loose | Caitlen | 3038 | Repair | GBH | WARD3 |  | WINKS | ACT |  |  | 2023-02-10 15:49 | 2023-02-12 14:20
54749 | Water leaking from the ceiling | Janet Graham | 3469 | Repair | GBH | OUTPATIENT |  | MARTIN | ACT |  |  | 2023-02-13 12:55 | 2023-02-14 12:55
54748 | Fire Exit door swollen can not close | June Burns | 36147 | Repair | DENTAL | MONTFIELD |  | MARTIN | ACT |  |  | 2023-02-10 11:43 | 2023-02-12 10:59
54747 | Tiles at Entrance loose | Janet Graham | 3231 | Repair | GBH | AUDIOLOGY |  | MARTIN | ACT |  |  | 2023-02-10 12:24 | 2023-02-12 10:55
54746 | Shroud on milling machine has sheared off | Andrew Barclay | 07919306228 | Repair | GBH |  |  | MIDDLETON | ACT |  |  | 2023-02-10 11:27 | 2023-02-12 09:58
54745 | Door lock | Michelle Hankin | 3689 | ESTATES | MON |  |  |  | ACT |  |  | 2023-02-10 10:00 | 2023-02-12 08:31
54743 | Kitchen light, and carpet gripper broken. | Nicole Shearer |  | ESTATES | ACCOM | SCALL ROAD |  | MARTIN | ACT |  |  | 2023-02-09 15:15 | 2023-02-12 05:16
54742 | main door handle broken | Nicole Shearer |  | ESTATES | ACCOM | 9 GOODLAD |  | REID | ACT |  |  | 2023-02-09 13:56 | 2023-02-12 03:57
54741 | Hot water tap | Nicole Shearer |  | ESTATES | ACCOM | BREIVIEW |  | WINKS | ACT |  |  | 2023-02-11 13:56 | 2023-02-14 11:56
54740 | Blocked Toilet | Karen Jamieson |  | ESTATES | LERWICKH/C | MENTALHLTH |  | WINKS | ACT |  |  | 2023-02-09 15:14 | 2023-02-12 05:15
54739 | Dr Bowie's room window not closing properly | Martin | 3308 | Repair | HILLSWH/C |  |  | MARTIN | ACT |  |  | 2023-02-09 12:00 | 2023-02-12 02:00
54738 | The building is freezing | Carol Dade | 01595743668 | ESTATES | DENTAL | BRAE |  | MIDDLETON | ACT |  |  | 2023-02-09 13:54 | 2023-02-12 03:55
54737 | Water flooded on the floor | Janet Graham | 3056 | Repair | GBH | OUTPATIENT |  | MARTIN | ACT |  |  | 2023-02-09 10:29 | 2023-02-12 00:30
54736 | A&E scrubber not sucking up | Marie Terris |  | HOTEL SERVICES | GBH | A&EDEPT |  | MILLER | ACT |  |  | 2023-02-09 08:45 | 2023-02-11 14:45
54735 | Purelab Water system leaking | Janet Graham | 3011 | Repair | GBH | LABORATORY |  | WINKS | ACT |  |  | 2023-02-08 12:27 | 2023-02-11 09:58
54734 | Power failure at BRAE | maureen stewart | 01806522543 | Repair | BRAE H/C |  |  | MIDDLETON | ACT |  |  | 2023-02-08 10:56 | 2023-02-11 09:11
54733 | Long strip light out | Tara | 206 | Repair | DENTAL | MONTFIELD |  | MARTIN | ACT |  |  | 2023-02-08 10:40 | 2023-02-11 08:10
54732 | Bollard light has been reversed into and broken | Martin | 3308 | Repair | YELL H/C |  |  | MILLER | ACT |  |  | 2023-02-08 17:00 | 2023-02-09 17:00
54731 | Pick up of clinicaL waste | Janet Graham | 3028 | Repair | GBH | ESTATES |  | RABHI | ACT |  |  | 2023-02-12 09:21 | 2023-03-06 06:21
54730 | Pick up of clinical waste from | Janet Graham | 3028 | Repair | GBH | ESTATES |  | MARTIN | ACT |  |  | 2023-02-07 13:34 | 2023-02-10 11:04
54729 | Drugs Fridge fault | Janet Graham | 3037 | Repair | GBH | DAYSURGERY |  | MARTIN | ACT |  |  | 2023-02-07 13:18 | 2023-02-10 10:48
54728 | Car park signs to be moved at estates office | Martin | 3308 | Repair | GBH | ESTATES |  | MARTIN | ACT |  |  | 2023-02-08 12:09 | 2023-02-09 12:09
54727 | Whiteboard to be fitted to wall | Mary Watt |  | ESTATES | LERWICKH/C | MENTALHLTH |  | MARTIN | ACT |  |  | 2023-02-08 13:09 | 2023-02-13 10:39
54724 | loose toilet seat | Lee James |  | HOTEL SERVICES | GBH |  |  | WINKS | ACT |  |  | 2023-02-07 09:26 | 2023-02-09 15:26
54723 | Door handle needs repair | Martin | 3308 | Repair | SCALLOWAY |  |  | MARTIN | ACT |  |  | 2023-02-06 13:49 | 2023-02-08 12:20
54722 | locks on DSR doors | Valerie Adamson | 3355 | ESTATES | ACCOM | BREIVIEW |  | REID | ACT |  |  | 2023-02-07 12:35 | 2023-02-09 15:36
54721 | Cleaners cupboard tap | Christine Eunson | 01806 566219 | ESTATES | WHALSAY |  |  | WINKS | ACT |  |  | 2023-02-07 09:34 | 2023-02-09 15:35
54720 | Buzzers faulty in room 1 and resus | Martin | 3308 | Repair | GBH | A&EDEPT |  | MIDDLETON | ACT |  |  | 2023-02-06 10:26 | 2023-02-08 08:57
54719 | mouse | Vivien Szobonya |  | ESTATES | SCALLOWAY |  |  | MARTIN | ACT |  |  | 2023-02-07 12:33 | 2023-02-09 15:34
54718 | clocks | Isla Inkster | 01957 711318 | ESTATES | UNST |  |  | MARTIN | ACT |  |  | 2023-02-07 09:33 | 2023-02-09 15:33
54717 | Blocked sink Rm 9 | Lynn Stevenson | 3175 | ESTATES | GBH | WARD1 |  | WINKS | ACT |  |  | 2023-02-07 09:32 | 2023-02-09 15:32
54716 | THE LOCK ON THE BACK DOOR (NEXT TO SKIP) | Stella Smith |  | ESTATES | LERWICKH/C |  |  | REID | ACT |  |  | 2023-02-07 09:31 | 2023-02-09 15:31
54715 | low battery in door | Ewa Dworak | 01595 743000 | ESTATES | GBH | RONAS |  | REID | ACT |  |  | 2023-02-07 09:30 | 2023-02-09 15:30
54714 | confidential waste | Isla Inkster | 01957 711318 | PORTERING | UNST |  |  | ELEASK | ACT |  |  | 2023-02-07 09:28 | 2023-02-09 15:29
54713 | Roof Tiles - ridge | Isla Inkster | 01957 711318 | ESTATES | UNST |  |  | MARTIN | ACT |  |  | 2023-02-07 09:27 | 2023-02-09 15:27
54712 | ACU NOT WORKING IN Dental | Janet Graham | 3028 | Repair | DENTAL | GBH |  | MIDDLETON | ACT |  |  | 2023-02-04 15:53 | 2023-02-07 13:53
54711 | Brown jelly like discharge from tap in staff room | Eleanor Mackay | 01595 743200 | ESTATES | DENTAL | MONTFIELD |  | MARTIN | ACT |  |  | 2023-02-02 15:13 | 2023-02-05 05:14
54710 | AnE scrubber not sucking up water | Lee James |  | HOTEL SERVICES | GBH | A&EDEPT |  | MILLER | ACT |  |  | 2023-02-02 15:16 | 2023-02-05 05:17
54709 | No Heating in corridors | Rosie | 3142 | Repair | GBH | THEATRE |  | MARTIN | ACT |  |  | 2023-02-02 13:37 | 2023-02-05 03:38
54708 | Toilet seat broken in day surgery | Martin | 3308 | Repair | GBH | DAYSURGERY |  | WINKS | ACT |  |  | 2023-02-03 11:04 | 2023-02-06 11:04
54707 | To bE AVAILABLE 1/2/23-28/2/23 | Janet Graham | 3028 | Repair | GBH | ESTATES |  | WARD | ACT |  |  | 2023-02-02 10:27 | 2023-02-05 00:28
54706 | Door Lock on cupboard broken | Rosie | 3142 | Repair | GBH | THEATRE |  | REID | ACT |  |  | 2023-02-02 10:24 | 2023-02-05 00:24
54705 | To be available 1/2/23-28/2/23 | Janet Graham | 3028 | Repair | GBH | ESTATES |  | FRASER | ACT |  |  | 2023-02-02 10:20 | 2023-02-05 00:21
54703 | Ceiling vents to be cleaned throughout ward | Martin | 3308 | Repair | GBH | WARD3 |  | RABHI | ACT |  |  | 2023-02-02 09:50 | 2023-02-04 15:51
54702 | Sink blocked in treatment room | Martin | 3308 | Repair | GBH | WARD3 |  | WINKS | ACT |  |  | 2023-02-02 09:47 | 2023-02-04 15:48
54701 | Roof leak | Morag Cumming | 01595 880219 | ESTATES | SCALLOWAY | RECEPTION |  | MARTIN | ACT |  |  | 2023-02-02 09:29 | 2023-02-04 15:30
54700 | broken paper towel holder | Marie Terris |  | HOTEL SERVICES | BREVIK | OCC HEALTH |  | MARTIN | ACT |  |  | 2023-02-02 09:28 | 2023-02-04 15:28
54699 | Leaking roof | Morag Cumming | 01595 880219 | ESTATES | SCALLOWAY | RECEPTION |  | MARTIN | ACT |  |  | 2023-02-03 14:16 | 2023-02-06 19:46
54696 | leak under sink | Susan Tait | 3399 | HOTEL SERVICES | GBH | CATERING |  | WINKS | ACT |  |  | 2023-01-31 16:05 | 2023-02-03 13:36
54692 | Kitchen taps leaking | Martin | 3308 | Repair | ACCOM | 5/7GOODLAD |  | WINKS | ACT |  |  | 2023-01-31 12:49 | 2023-02-03 10:19
54689 | To be available 1/2/23-28/2/23 | Janet Graham | 3028 | Repair | GBH | ESTATES |  | MILLER | ACT |  |  | 2023-01-30 17:13 | 2023-02-01 15:43
54688 | To be available 1/2/23-28/2/23 | Janet Graham | 3028 | Repair | GBH | ESTATES |  | WARD | ACT |  |  | 2023-01-30 17:11 | 2023-02-01 15:41
54687 | To be available 1/2/23-28/2/23 | Janet Graham | 3028 | Repair | GBH | ESTATES |  | RABHI | ACT |  |  | 2023-01-30 17:08 | 2023-02-01 15:38
54686 | To be available 1/2/23-28/2/23 | Janet Graham | 3028 | Repair | GBH | ESTATES |  | REID | ACT |  |  | 2023-01-30 17:05 | 2023-02-01 15:36
54685 | To be available 1/2/2023 | Janet Graham | 3028 | Repair | GBH | ESTATES |  | FRASER | ACT |  |  | 2023-01-30 17:04 | 2023-02-01 15:34
54683 | Change over Autoclaves | Sandy Fraser | 3028 | Repair | DENTAL |  |  | FRASER | ACT |  |  | 2023-01-30 12:32 | 2023-02-01 11:02
54682 | To be available | Sandy Fraser | 3028 | Repair | MON |  |  | FRASER | ACT |  |  | 2023-01-30 12:31 | 2023-02-01 11:01
54681 | Fault on amalgam seperator | Sandy Fraser | 3028 | Repair | DENTAL |  |  | FRASER | ACT |  |  | 2023-01-30 12:29 | 2023-02-01 11:00
54680 | Leak on the vision | Sandy Fraser | 3028 | Repair | GBH | CDU |  | FRASER | ACT |  |  | 2023-01-30 11:21 | 2023-02-01 09:51
54679 | Fault on Vision | Sandy Fraser | 3191 | Repair | GBH | CDU |  | FRASER | ACT |  |  | 2023-01-30 11:19 | 2023-02-01 09:50
54678 | Amalgamator faulty | Sandy Fraser | 3028 | Repair | DENTAL | MONTFIELD |  | FRASER | ACT |  |  | 2023-01-30 11:17 | 2023-02-01 09:48
54677 | Treatment Room A - Door | Isla Inkster | 01957 711318 | ESTATES | UNST |  |  | MARTIN | ACT |  |  | 2023-01-30 11:36 | 2023-02-01 10:06
54676 | Testing of Autoclave required | Sandy Fraser | 3028 | Repair | DENTAL |  |  | FRASER | ACT |  |  | 2023-01-30 11:16 | 2023-02-01 09:46
54675 | Parts required for Dental | Sandy Fraser | 3028 | Repair | DENTAL | WHALSAY |  | FRASER | ACT |  |  | 2023-01-30 11:12 | 2023-02-01 09:42
54674 | Fault on steriliser | Sandy Fraser | 3028 | ESTATES | GBH | CDU |  | FRASER | ACT |  |  | 2023-01-30 11:10 | 2023-02-01 09:40
54673 | Fault on Boiler 1 | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | LAMMING | ACT |  |  | 2023-01-30 11:01 | 2023-02-01 09:31
54672 | fAULT ON AID CALL HAND SET | Janet Graham | 3038 | ESTATES | GBH | WARD3 |  | LAMMING | ACT |  |  | 2023-01-30 10:58 | 2023-02-01 09:28
54671 | fAULT ON WARD 1 LIFT | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | LAMMING | ACT |  |  | 2023-01-30 10:55 | 2023-02-01 09:25
54670 | Called out Electric tripped HDU | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | LAMMING | ACT |  |  | 2023-01-30 10:07 | 2023-02-01 09:23
54669 | Steam required | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | LAMMING | ACT |  |  | 2023-01-30 10:46 | 2023-02-01 09:17
54668 | Light in cart park broken loose wires | Marian | 01595 810202 | Repair | BIXTER H/C |  |  | MARTIN | ACT |  |  | 2023-01-30 10:41 | 2023-02-01 09:11
54666 | Shower not draining properly | Martin | 3308 | Repair | GBH | WARD1 |  | HALCROW | ACT |  |  | 2023-01-30 09:21 | 2023-01-31 16:22
54664 | block 2 flat 2 cold tap | Marie Terris |  | HOTEL SERVICES | ACCOM | BLOCK 2 |  | HALCROW | ACT |  |  | 2023-01-30 12:26 | 2023-02-22 08:56
54663 | Sheet jammed in iron | Janet Graham | 31810 | Repair | GBH | LAUNDRY |  | OLDBURY | ACT |  |  | 2023-01-27 12:09 | 2023-01-29 10:39
54658 | Cold tap in birthing pool faulty or loose | Martin | 3308 | Repair | GBH | MATERNITY |  | MARTIN | ACT |  |  | 2023-01-27 09:35 | 2023-01-29 08:05
54656 | Broken cooker hob | Nicole Shearer |  | ESTATES | ACCOM | 5/7GOODLAD |  | MARTIN | ACT |  |  | 2023-01-26 13:57 | 2023-01-29 03:57
54655 | Servery vending machine jammed | Martin | 3308 | Repair | GBH | CATERING |  | OLDBURY | ACT |  |  | 2023-01-26 11:51 | 2023-01-29 01:52
54654 | Clean up external door at Occ. Health | Martin | 3308 | Repair | MON | OCC HEALTH |  | MARTIN | ACT |  |  | 2023-01-26 17:00 | 2023-01-27 17:00
54653 | Hot tap - tap is loose | Rosie | 3142 | Repair | GBH | THEATRE |  | WINKS | ACT |  |  | 2023-01-25 11:25 | 2023-01-28 08:56
54652 | Kitchen dishwasher leaking | Martin | 3308 | Repair | GBH | WARD3 |  | WINKS | ACT |  |  | 2023-01-25 09:40 | 2023-01-27 15:41
54646 | Gutters above top main door full | Nicole Shearer |  | ESTATES | ACCOM | BREIVIEW |  | MARTIN | ACT |  |  | 2023-01-26 13:56 | 2023-01-30 10:56
54645 | Pick up of clinical waste from | Janet Graham | 3028 | Repair | GBH | ESTATES |  | RABHI | ACT |  |  | 2023-01-24 13:01 | 2023-01-27 10:32
54644 | Bulb out on the Hot Plate | Fiona | 3399 | Repair | GBH | CATERING |  | MILLER | ACT |  |  | 2023-01-24 12:36 | 2023-01-27 10:06
54643 | Lights out in main entrance | Martin | 3308 | Repair | HARLEY ST |  |  | MARTIN | ACT |  |  | 2023-01-24 12:25 | 2023-01-27 09:55
54641 | Sink has leaked across fllor | Leaanne | 3080 | Repair | MON | OCC HEALTH |  | WINKS | ACT |  |  | 2023-01-24 11:19 | 2023-01-27 08:50
54639 | Faulty Lock on room 5b door | Mary | 3006 | Repair | LERWICKH/C | MENTALHLTH |  | REID | ACT |  |  | 2023-01-24 11:13 | 2023-01-27 08:43
54638 | AHU TRIPPED IN Ultrasound room | Jennifer | 3552 | Repair | GBH | X-RAY |  | MARTIN | ACT |  |  | 2023-01-24 10:45 | 2023-01-27 08:15
54637 | Broken external light | Tanya Wiseman |  | ESTATES | MON | OFFICES |  | MILLER | ACT |  |  | 2023-01-24 11:09 | 2023-01-27 08:39
54636 | Heating not working | Nicole Shearer |  | ESTATES | ACCOM | BREIWICK |  | MARTIN | ACT |  |  | 2023-01-24 10:41 | 2023-01-27 08:12
54634 | Chemicals required for Theatre | Mark Ward | 3028 | Repair | GBH | THEATRE |  | WARD | ACT |  |  | 2023-01-23 15:39 | 2023-01-25 14:09
54633 | Vision leak in theatres | Mark Ward | 3028 | Repair | GBH | THEATRE |  | WARD | ACT |  |  | 2023-01-23 15:36 | 2023-01-25 14:07
54632 | Relocate 2 key cabinets in old workshop | Martin | 3308 | Repair | GBH | ESTATES |  | MARTIN | ACT |  |  | 2023-01-24 14:24 | 2023-01-25 14:24
54631 | Radiators in hallway and at windows are cold | Martin | 3308 | Repair | ACCOM | BREIWICK |  | WINKS | ACT |  |  | 2023-01-23 15:12 | 2023-01-25 13:42
54630 | Cut back shrubbery at rear of Occy Health building | Martin | 3308 | Repair | MON |  |  | FREELAND | ACT |  |  | 2023-01-24 14:08 | 2023-01-25 14:08
54628 | DSR sink blocked | Marie Terris |  | HOTEL SERVICES | GBH | A&EDEPT |  | MARTIN | ACT |  |  | 2023-01-23 13:04 | 2023-01-25 11:34
54627 | Ultrasound room AHU OFF AGAIN | Janet Graham | 3028 | Repair | GBH | X-RAY |  | OLDBURY | ACT |  |  | 2023-01-23 10:34 | 2023-01-25 09:49
54625 | Steam to be put off | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | OLDBURY | ACT |  |  | 2023-01-23 10:15 | 2023-01-25 08:45
54624 | Steam required 22/1/22 | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | MIDDLETON | ACT |  |  | 2023-01-23 10:13 | 2023-01-25 08:43
54623 | Called out smell of smoke in Hospital | Billy Middleton | 3028 | ESTATES | GBH | ESTATES |  | MIDDLETON | ACT |  |  | 2023-01-23 09:26 | 2023-01-25 08:42
54622 | AHU NOT WORKING | Jennifer | 3552 | Repair | GBH | X-RAY |  | OLDBURY | ACT |  |  | 2023-01-23 10:09 | 2023-01-25 08:40
54619 | to be avaiable 10/1/23 | Mark Ward | 3028 | Repair | GBH | CDU |  | WARD | ACT |  |  | 2023-01-21 08:03 | 2023-01-22 15:03
54618 | To be available to assist | Sandy Fraser | 3028 | Repair | GBH | ESTATES |  | FRASER | ACT |  |  | 2023-01-21 08:01 | 2023-01-22 15:01
54617 | Check of workshop | Sandy Fraser | 3028 | Repair | GBH | ESTATES |  | FRASER | ACT |  |  | 2023-01-20 16:28 | 2023-01-22 14:59
54616 | Fault on autoclave | Sandy Fraser | 3028 | Repair | DENTAL |  |  | FRASER | ACT |  |  | 2023-01-20 16:27 | 2023-01-22 14:57
54615 | Check tidy workshop | Sandy Fraser | 3028 | Repair | GBH | ESTATES |  | FRASER | ACT |  |  | 2023-01-20 16:26 | 2023-01-22 14:56
54614 | Chemicals require changing | Sandy Fraser | 3028 | Repair | GBH | CDU |  | FRASER | ACT |  |  | 2023-01-20 16:23 | 2023-01-22 14:54
54613 | Temperture checks | Sandy Fraser | 3028 | Repair | GBH | THEATRE |  | FRASER | ACT |  |  | 2023-01-20 16:22 | 2023-01-22 14:52
54612 | Vision Failure | Sandy Fraser | 3028 | Repair | GBH | CDU |  | FRASER | ACT |  |  | 2023-01-20 16:20 | 2023-01-22 14:50
54611 | aUTOCLAVE TESTING | Janet Graham | 3028 | Repair | DENTAL |  |  | FRASER | ACT |  |  | 2023-01-20 16:17 | 2023-01-22 14:48
54610 | Plantroom compressor faulty | Martin | 3308 | Repair | GBH | PORTERS |  | WARD | ACT |  |  | 2023-01-20 15:57 | 2023-01-22 14:28
54606 | vENDING machine Fridge faulty | Janet Graham | 3028 | Repair | GBH | CATERING |  | MIDDLETON | ACT |  |  | 2023-01-19 11:48 | 2023-01-22 02:33
54605 | Temperature problem | Kerry Howe | 01806 522461 | ESTATES | DENTAL | BRAE |  | MARTIN | ACT |  |  | 2023-01-22 23:49 | 2023-02-13 20:49
54602 | AGSS dental GBH | Martin | 3308 | Repair | DENTAL | GBH |  | WARD | ACT |  |  | 2023-01-18 15:17 | 2023-01-21 12:48
54599 | Leak at water filter in analyzer room | Martin | 3308 | Repair | GBH | LABORATORY |  | WINKS | ACT |  |  | 2023-01-18 10:58 | 2023-01-21 08:28
54598 | Steriliser not working ward 3 | Ellie | 3156 | Repair | GBH | WARD3 |  | HALCROW | ACT |  |  | 2023-01-18 10:03 | 2023-01-20 16:03
54595 | Blocked toiled | Ewa Dworak | 01595 743000 | ESTATES | GBH | RONAS |  | HALCROW | ACT |  |  | 2023-01-17 14:00 | 2023-01-20 11:30
54592 | Toilet seat loose | Janet Graham | 3037 | Repair | GBH | DAYSURGERY |  | HALCROW | ACT |  |  | 2023-01-16 16:09 | 2023-01-18 14:39
54591 | Ronas/Ward 1 Pipe work needs to be fixed | Janet Graham | 3028 | Repair | GBH | WARD1 |  | HALCROW | ACT |  |  | 2023-01-16 12:35 | 2023-01-18 11:06
54590 | 7 Goodlad crescent | Nicole Shearer |  | ESTATES | ACCOM | 5/7GOODLAD |  | HALCROW | ACT |  |  | 2023-01-16 12:05 | 2023-01-18 10:35
54589 | Steam off | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | MILLER | ACT |  |  | 2023-01-16 10:19 | 2023-01-18 08:49
54588 | Called out no steam | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | OLDBURY | ACT |  |  | 2023-01-16 10:17 | 2023-01-18 08:48
54587 | Called out no steam | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | OLDBURY | ACT |  |  | 2023-01-16 10:15 | 2023-01-18 08:45
54586 | Disconnect power to blue portacabin | Martin | 3308 | Repair | GBH | ESTATES |  | MILLER | ACT |  |  | 2023-01-16 15:02 | 2023-01-17 15:02
54585 | bathroom light not working | Lee James |  | HOTEL SERVICES | ACCOM | BREIWICK |  | MILLER | ACT |  |  | 2023-01-13 15:26 | 2023-01-15 13:57
54584 | Air Condition unit not working | Janet Graham | 3011 | Repair | GBH | LABORATORY |  | MIDDLETON | ACT |  |  | 2023-01-13 12:18 | 2023-01-15 11:33
54583 | slow speed blowing out air at hand piece | Susan Davidson | 01806 522461 | ESTATES | DENTAL | BRAE |  | FRASER | ACT |  |  | 2023-01-13 11:45 | 2023-01-15 10:16
54580 | Room 1 shower temp control not turning | Martin | 3308 | Repair | GBH | WARD3 |  | HALCROW | ACT |  |  | 2023-01-13 17:00 | 2023-01-16 17:00
54578 | Bay 3 toilet blocked | martin | 3308 | Repair | GBH | WARD3 |  | HALCROW | ACT |  |  | 2023-01-13 09:02 | 2023-01-15 08:18
54575 | room 2 toilet seat broken | Nicole Shearer |  | ESTATES | ACCOM | BLOCK 2 |  | HALCROW | ACT |  |  | 2023-01-12 13:06 | 2023-01-15 03:06
54574 | Fault on suction unit | Wilma | 01806 | Repair | DENTAL | WHALSAY |  | WARD | ACT |  |  | 2023-01-15 23:39 | 2023-02-06 20:39
54571 | Called out power tripped | Mark Ward | 3028 | ESTATES | ACCOM | BLOCK 2 |  | WARD | ACT |  |  | 2023-01-12 10:09 | 2023-01-15 00:10
54567 | Called out faultry a/e door | Billy Middleton | 3028 | ESTATES | GBH | ESTATES |  | MIDDLETON | ACT |  |  | 2023-01-11 09:56 | 2023-01-13 15:57
54566 | Blocked drain pipe Ward3 | Billy Middleton | 3028 | ESTATES | GBH | ESTATES |  | MIDDLETON | ACT |  |  | 2023-01-11 09:55 | 2023-01-13 15:55
54565 | Maserator not working | Ellie | 3175 | ESTATES | GBH | WARD1 |  | HALCROW | ACT |  |  | 2023-01-11 09:52 | 2023-01-13 15:53
54564 | Insecure taps in GP and Nurses room | Philip Anderson |  | ESTATES | YELL H/C |  |  | HALCROW | ACT |  |  | 2023-01-12 08:30 | 2023-01-16 14:30
54563 | Assist Westside Electrical in A&E | Martin | 3308 | Repair | GBH | A&EDEPT |  | MILLER | ACT |  |  | 2023-01-10 14:08 | 2023-01-13 11:38
54561 | 3 in 1 at the spittoon | Carol Dade | 01595743668 | ESTATES | DENTAL | BRAE |  | FRASER | ACT |  |  | 2023-01-10 14:00 | 2023-01-13 11:30
54552 | Called out steam required | Pat Miller | 3028 | ESTATES | GBH | ESTATES |  | MILLER | ACT |  |  | 2023-01-09 12:11 | 2023-01-11 10:42
54551 | Called out Blocked sink | Pat Miller | 3028 | ESTATES | GBH | ESTATES |  | MILLER | ACT |  |  | 2023-01-09 11:57 | 2023-01-11 10:27
54550 | CCTV Unviewable | Peter Gaines | 01595 743033 | ESTATES | GBH |  |  | GRAHAM | ACT |  |  | 2023-01-09 11:58 | 2023-01-11 11:13
54549 | Blocked public toilets | Wilma Poleson | 01595 693201 | HOTEL SERVICES | LERWICKH/C |  |  | HALCROW | ACT |  |  | 2023-01-09 12:37 | 2023-01-11 11:07
54548 | Faults on outside lights | Pat Miller | 3028 | Repair | HARLEY ST |  |  | MILLER | ACT |  |  | 2023-01-09 10:00 | 2023-01-11 08:30
54547 | To be available to assist and advise | Pat Miller | 3028 | ESTATES | GBH | ESTATES |  | MILLER | ACT |  |  | 2023-01-09 09:57 | 2023-01-11 08:28
54545 | Lights tripping at office and main entrance | Martin | 3308 | Repair | HARLEY ST |  |  | MILLER | ACT |  |  | 2023-01-06 12:55 | 2023-01-08 11:26
54544 | Water ingress at smoke detector | Martin | 3308 | Repair | HARLEY ST |  |  | MIDDLETON | ACT |  |  | 2023-01-06 12:54 | 2023-01-08 11:25
54541 | New external tap to be fitted | Gwen Farmer | 3235 | ESTATES | DENTAL | MONTFIELD |  | HALCROW | ACT |  |  | 2023-01-09 08:11 | 2023-01-31 13:11
54539 | Leaking waste pipe in Staff room Cupboard water o | Gwen Farmer | 3235 | Repair | DENTAL | MONTFIELD |  | HALCROW | ACT |  |  | 2023-01-06 09:41 | 2023-01-08 08:12
54534 | Suction fault | Martin | 3308 | Repair | DENTAL | MONTFIELD |  | FRASER | ACT |  |  | 2023-01-05 12:05 | 2023-01-08 02:05
54533 | Dental Staff Room Sink leaking | Janet Graham | 3165 | Repair | DENTAL | MONTFIELD |  | HALCROW | ACT |  |  | 2023-01-05 11:41 | 2023-01-08 01:41
54530 | Ward 1 sluice not working | Martin | 3308 | Repair | GBH | WARD1 |  | HALCROW | ACT |  |  | 2023-01-05 09:00 | 2023-01-07 15:00
54527 | Blocked sink in x-ray | Janet Graham | 3028 | Repair | GBH | X-RAY |  | HALCROW | ACT |  |  | 2023-01-04 15:57 | 2023-01-07 13:27
54525 | To be available 1/1/23-31/1/23 | Pat Miller | 3028 | Repair | GBH | ESTATES |  | MILLER | ACT |  |  | 2023-01-04 10:37 | 2023-01-07 08:08
54524 | To be available 1/1/23-31/1/23 | Sandy Fraser | 3028 | Repair | GBH | ESTATES |  | FRASER | ACT |  |  | 2023-01-04 10:35 | 2023-01-07 08:06
54523 | To be available 1/1/23-31/1/23 | Mike Reid | 3028 | Repair | GBH | ESTATES |  | REID | ACT |  |  | 2023-01-04 10:33 | 2023-01-07 08:04
54521 | Called out no steam | Mark Ward | 3028 | ESTATES | GBH | CDU |  | WARD | ACT |  |  | 2023-01-04 10:16 | 2023-01-06 16:16
54520 | Called out Fire DAMPER FAULT | Mark Ward | 3028 | ESTATES | GBH | ESTATES |  | WARD | ACT |  |  | 2023-01-04 10:07 | 2023-01-06 16:08
54519 | Called out leak in servery toilet | Mark Ward | 3028 | ESTATES | GBH | CATERING |  | WARD | ACT |  |  | 2023-01-04 10:05 | 2023-01-06 16:05
54518 | Scrubber not working | Martin | 3308 | Repair | GBH | DAYSURGERY |  | MILLER | ACT |  |  | 2023-01-04 17:00 | 2023-01-05 17:00
54517 | Air con unit not working | Jennifer Anderson | 3158 | ESTATES | GBH | X-RAY |  | MIDDLETON | ACT |  |  | 2023-01-04 09:00 | 2023-01-06 15:00
54514 | Tubes needed x 2 18W/835 | Martin | 3308 | Repair | GBH | LABORATORY |  | MILLER | ACT |  |  | 2022-12-30 11:33 | 2023-01-01 10:04
54512 | Keypad @ back door not working | Fiona Ridland |  | HOTEL SERVICES | GBH | CATERING |  | MILLER | ACT |  |  | 2022-12-30 09:09 | 2023-01-01 07:40
54510 | Grit | Deborah Guthrie | 01957 702127 | ESTATES | YELL H/C |  |  | MARTIN | ACT |  |  | 2022-12-29 11:29 | 2023-01-01 01:30
54509 | Faulty Light | Chris Hamer | 01595 743021 | ESTATES | LERWICKH/C | PODIATRY |  | MILLER | ACT |  |  | 2022-12-29 11:18 | 2023-01-01 01:18
54508 | Hot water lukewarm at 11 Scalloway Road | Martin | 3308 | Repair | ACCOM | SCALL ROAD |  | WINKS | ACT |  |  | 2022-12-28 15:10 | 2022-12-31 12:40
54506 | Digilock | Adam Czarnobaj |  | ESTATES | LERWICKH/C | DOCTORPRAC |  | MARTIN | ACT |  |  | 2022-12-30 09:46 | 2023-01-01 08:16
54505 | Electric door magnet issue | Martin | 3308 | Repair | LERWICKH/C |  |  | WARD | ACT |  |  | 2022-12-28 13:05 | 2022-12-31 10:36
54504 | Suction issue | Martin | 3308 | Repair | DENTAL | MONTFIELD |  | WARD | ACT |  |  | 2022-12-28 13:03 | 2022-12-31 10:34
54503 | Vacuum issues ward 1 | Martin | 3308 | Repair | GBH | WARD1 |  | WARD | ACT |  |  | 2022-12-28 12:56 | 2022-12-31 10:26
54502 | Vision 1A leaking | Martin | 3308 | Repair | GBH | CDU |  | WARD | ACT |  |  | 2022-12-28 12:54 | 2022-12-31 10:24
54501 | Vision 2 leaks | Martin | 3308 | Repair | GBH | CDU |  | WARD | ACT |  |  | 2022-12-28 12:52 | 2022-12-31 10:23
54498 | broken hinge | Sheena Anderson | 3156 | ESTATES | GBH |  |  | MARTIN | ACT |  |  | 2022-12-28 09:15 | 2022-12-30 15:15
54497 | Blocked sink | Stephen Lamming | 3684 | ESTATES | GBH | WARD1 |  | WINKS | ACT |  |  | 2022-12-28 09:13 | 2022-12-30 15:13
54496 | Lights out in Labs safety cabinet | Stephen Lamming | 3684 | ESTATES | GBH | LABORATORY |  | MILLER | ACT |  |  | 2022-12-28 09:14 | 2022-12-30 15:14
54493 | Outside door handle has broken | Stephen Lamming | 3684 | ESTATES | ACCOM | BREIWICK |  | MIDDLETON | ACT |  |  | 2022-12-28 09:17 | 2022-12-30 15:17
54491 | no hot water | Deborah Guthrie | 01957 702127 | DOMESTIC AUDIT | YELL H/C |  |  | WINKS | ACT |  |  | 2022-12-28 09:19 | 2022-12-30 15:20
54490 | ceiling tiles & shower/toilet room floor threshold | Dawn Elphinstone |  | ESTATES | GBH | WARD3 |  | RABHI | ACT |  |  | 2022-12-28 09:20 | 2022-12-30 15:21
54488 | 3035 | Lynn Stevenson | 3175 | ESTATES | GBH | WARD1 |  | MILLER | ACT |  |  | 2022-12-28 09:21 | 2022-12-30 15:22
54486 | Cooker in 5 Goodlad Crescent | Nicole Shearer |  | ESTATES | ACCOM | 5/7GOODLAD |  | MILLER | ACT |  |  | 2022-12-28 09:38 | 2022-12-30 15:39
54483 | Front door issue | Ann-Marie Wilkie | 01957 733228 | ESTATES | ACCOM | FETLAR |  | REID | ACT |  |  | 2022-12-28 09:40 | 2022-12-30 15:41
54481 | Constant dripping noise | Lisa Watt | 3209 | ESTATES | MON | OFFICES |  | WINKS | ACT |  |  | 2022-12-28 09:56 | 2022-12-30 15:57
54479 | Blocked drain | Stephen Lamming | 3684 | ESTATES | GBH | WARD1 |  | WINKS | ACT |  |  | 2022-12-28 09:53 | 2022-12-30 15:54
54478 | Blocked toilet at servery | Stephen Lamming | 3684 | ESTATES | GBH | CATERING |  | WINKS | ACT |  |  | 2022-12-28 09:52 | 2022-12-30 15:53
54477 | Issue with Walls HC changeover switch | Stephen Lamming | 3684 | ESTATES | WALLS H/C |  |  | LAMMING | ACT |  |  | 2022-12-28 09:52 | 2022-12-30 15:52
54476 | Fault on Bixter Generator | Stephen Lamming | 3684 | ESTATES | BIXTER H/C | MAINTNCE |  | MIDDLETON | ACT |  |  | 2022-12-28 09:51 | 2022-12-30 15:51
54475 | Ward 1 lift fault | Stephen Lamming | 3684 | ESTATES | GBH | MAINCORR |  | REID | ACT |  |  | 2022-12-28 09:55 | 2022-12-30 15:56
54474 | Boiler failure | Stephen Lamming | 3684 | ESTATES | ACCOM | SCALL ROAD |  | REID | ACT |  |  | 2022-12-28 09:41 | 2022-12-30 15:41
54467 | Medical gas manifold | Martin | 3308 | Repair | GBH | MGPS |  | WARD | ACT |  |  | 2022-12-19 14:36 | 2022-12-20 14:36
54464 | Put up curtains 11 Goodlad | Martin | 3308 | Repair | ACCOM | 11 GOODLAD |  | MARTIN | ACT |  |  | 2022-12-16 11:29 | 2022-12-18 09:59
54454 | Digilock into reception broken | Adam Czarnobaj |  | ESTATES | LERWICKH/C | DOCTORPRAC |  | MARTIN | ACT |  |  | 2022-12-15 09:11 | 2022-12-17 15:12
54453 | Loose door handle | Joan Hughson | 01595 880219 | ESTATES | SCALLOWAY |  |  | REID | ACT |  |  | 2022-12-15 09:11 | 2022-12-17 15:11
54447 | Replacement bulb need | Martin | 3308 | Repair | ACCOM | BREIWICK |  | MILLER | ACT |  |  | 2022-12-12 11:42 | 2022-12-14 10:12
54446 | Fit 2 dorguards to Ronas rooms | Martin | 3308 | Repair | GBH | RONAS |  | MIDDLETON | ACT |  |  | 2022-12-12 11:31 | 2022-12-14 10:02
54445 | 2 issues in the Fetlar clinic | Martin | 3308 | Repair | ACCOM | FETLAR |  | MILLER | ACT |  |  | 2022-12-13 10:30 | 2022-12-14 10:30
54443 | Check drains at TVC machines | Mark | 3308 | Repair | GBH | CDU |  | WINKS | ACT |  |  | 2022-12-12 11:20 | 2022-12-14 09:51
54442 | Bedside lamp in Resus room not working | Martin | 3308 | Repair | GBH | A&EDEPT |  | MILLER | ACT |  |  | 2022-12-12 11:18 | 2022-12-14 09:49
54440 | Hand wash basin is smelling when hot tap running | Martin | 3308 | Repair | GBH | CDU |  | WINKS | ACT |  |  | 2022-12-12 10:21 | 2022-12-14 08:52
54437 | Drugs Fridge alarming temp incorrect | Janet Graham | 3073 | Repair | GBH | DAYSURGERY |  | MARTIN | ACT |  |  | 2022-12-09 15:37 | 2022-12-11 14:08
54435 | Toilet leaking lots in small female bathroom | Sheila Umphray | 3035 | ESTATES | GBH | WARD1 |  | WINKS | ACT |  |  | 2022-12-09 12:32 | 2022-12-11 11:03
54432 | Called out faulty tap | Janet Graham | 3028 | ESTATES | GBH | OUTPATIENT |  | OLDBURY | ACT |  |  | 2022-12-09 10:31 | 2022-12-11 09:02
54431 | Install heater in manifold room | Martin | 3308 | Repair | GBH | MGPS |  | MILLER | ACT |  |  | 2022-12-08 15:26 | 2022-12-11 05:26
54426 | Loose wires hanging from Plug Socket | Aimee | 3156 | Repair | GBH | WARD3 |  | MILLER | ACT |  |  | 2022-12-08 13:24 | 2022-12-11 03:25
54423 | OHE room temp 17 degrees @10amTemperature problem | Susan Davidson | 01806 522461 | ESTATES | DENTAL | BRAE |  | MIDDLETON | ACT |  |  | 2022-12-08 11:24 | 2022-12-11 01:25
54422 | the tap in the velopex room is hard to turn off | Carol Dade | 01595743668 | ESTATES | DENTAL | BRAE |  | WINKS | ACT |  |  | 2022-12-08 11:23 | 2022-12-11 01:24
54416 | Maserator no working | Ellie | 3028 | Repair | GBH | WARD3 |  | HALCROW | ACT |  |  | 2022-12-07 12:10 | 2022-12-10 09:41
54413 | Panel low oxygen | Lisa | 3128 | Repair | GBH | OUTPATIENT |  | WARD | ACT |  |  | 2022-12-07 09:52 | 2022-12-09 15:53
54412 | Damp Mould in Staff room | Gwen Farmer | 3235 | Repair | DENTAL | MONTFIELD |  | WINKS | ACT |  |  | 2022-12-09 08:35 | 2022-12-12 14:05
54410 | back door lock pad coming off | Lee James |  | HOTEL SERVICES | BREIWICK |  |  | REID | ACT |  |  | 2022-12-06 15:45 | 2022-12-09 13:15
54409 | Remove ramp and winch from blue container | Martin | 3308 | Repair | GBH | PORTERS |  | OLDBURY | ACT |  |  | 2022-12-07 11:32 | 2022-12-08 11:32
54408 | Called out - faulty tap | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | WINKS | ACT |  |  | 2022-12-06 10:14 | 2022-12-08 16:14
54405 | CALLED OUT Faulty door | Stephen Lamming | 01595 743684 | ESTATES | LERWICKH/C |  |  | LAMMING | ACT |  |  | 2022-12-05 17:01 | 2022-12-07 15:31
54404 | cALLED OUT NO Ssteam | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | LAMMING | ACT |  |  | 2022-12-05 16:58 | 2022-12-07 15:28
54403 | No hot water in the staff room | Joan Hughson | 01595 880219 | ESTATES | SCALLOWAY |  |  | WINKS | ACT |  |  | 2022-12-05 14:37 | 2022-12-07 13:07
54399 | Suction unit not working | Janet Graham | 3111 | Repair | DENTAL | GBH |  | MARTIN | ACT |  |  | 2022-12-05 09:49 | 2022-12-07 09:04
54398 | Ward 1 side room 9 wash hand basin blocked | Martin | 3308 | Repair | GBH | WARD1 |  | HALCROW | ACT |  |  | 2022-12-05 17:00 | 2022-12-06 17:00
54393 | Autoclave yearly test | Martin | 3308 | Repair | DENTAL | GBH |  | FRASER | ACT |  |  | 2022-12-05 14:20 | 2022-12-06 14:20
54391 | Attend weekly Estates meeting | Martin | 3308 | Repair | GBH | CDU |  | FRASER | ACT |  |  | 2022-12-05 14:17 | 2022-12-06 14:17
54387 | Zurich insurance inspections on autclaves | Martin | 3308 | Repair | DENTAL | GBH |  | FRASER | ACT |  |  | 2022-12-05 14:11 | 2022-12-06 14:11
54385 | Workshop tasks | Martin | 3308 | Repair | GBH | CDU |  | FRASER | ACT |  |  | 2022-12-05 14:06 | 2022-12-06 14:06
54384 | Low battery in door /Out of order water machine | Ewa Dworak | 01595 743269 | ESTATES | GBH | RONAS |  | HALCROW | ACT |  |  | 2022-12-02 13:20 | 2022-12-04 11:51
54382 | Shower not working | Janet Graham | 3359 | Repair | GBH | WARD1 |  | HALCROW | ACT |  |  | 2022-12-02 12:03 | 2022-12-04 10:34
54380 | External tap is either not working or disconnected | Martin | 3308 | Repair | DENTAL | MONTFIELD |  | WINKS | ACT |  |  | 2022-12-05 10:25 | 2022-12-06 10:25
54378 | To be available 1/12/22-31/12/22 | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | REID | ACT |  |  | 2022-12-02 10:26 | 2022-12-04 08:57
54377 | To be available 1/12/22-31/12/22 | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | WARD | ACT |  |  | 2022-12-02 10:24 | 2022-12-04 08:54
54374 | Call Out Water leak | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | REID | ACT |  |  | 2022-12-02 10:17 | 2022-12-04 08:47
54373 | Drinking water cooler not working | Donna Marie | 3323 | Repair | GBH | PHYSIO |  | WINKS | ACT |  |  | 2022-12-02 08:16 | 2022-12-04 06:46
54369 | Front door broken again | Adam Czarnobaj |  | ESTATES | LERWICKH/C | MAINTNCE |  | MARTIN | ACT |  |  | 2022-12-01 11:35 | 2022-12-04 01:36
54368 | Maternity reception light is out | Martin | 3308 | Repair | GBH | MATERNITY |  | MILLER | ACT |  |  | 2022-12-01 09:48 | 2022-12-03 15:49
54367 | remove sockets for joiners | Martin | 3308 | Repair | GBH |  |  | MILLER | ACT |  |  | 2022-11-30 16:05 | 2022-12-03 13:35
54363 | Fire Panel - PRE ALARM ACTIVATED | Ingrid | 3663 | ESTATES | BREIWICK | CAMHS |  | MILLER | ACT |  |  | 2022-11-30 12:08 | 2022-12-03 10:24
54355 | Privacy curtain rail broken | Janet Graham | 3088 | Repair | GBH | DAYSURGERY |  | MARTIN | ACT |  |  | 2022-11-29 11:11 | 2022-12-02 08:41
54354 | Called out Fire alarm activated | Janet Graham | 3028 | ESTATES | BREIWICK |  |  | MILLER | ACT |  |  | 2022-11-29 09:01 | 2022-12-01 15:47
54352 | Medical gas manifold renewal | Martin | 3308 | Repair | GBH | MGPS |  | WARD | ACT |  |  | 2022-11-28 14:39 | 2022-11-30 13:10
54351 | roof tiles | Sheena Anderson | 3156 | ESTATES | GBH |  |  | MARTIN | ACT |  |  | 2022-11-28 13:53 | 2022-11-30 12:23
54349 | 2 keys to be cut for Ronas ward office | Martin | 3308 | Repair | GBH |  |  | REID | ACT |  |  | 2022-11-28 12:43 | 2022-11-30 11:13
54346 | Steam Required | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | MIDDLETON | ACT |  |  | 2022-11-28 10:04 | 2022-11-30 08:35
54345 | Steam required | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | MIDDLETON | ACT |  |  | 2022-11-28 10:01 | 2022-11-30 08:32
54344 | Called out for Contractor | Janet Graham | 3028 | Repair | GBH | ESTATES |  | MIDDLETON | ACT |  |  | 2022-11-28 09:58 | 2022-11-30 08:29
54341 | Brown water in kitchen | Erin Seif | 3067 | ESTATES | MON | OFFICES |  | LAMMING | ACT |  |  | 2022-11-25 15:48 | 2022-11-27 15:03
54338 | Maserator not working | Ellie | 3175 | Repair | GBH | WARD1 |  | WINKS | ACT |  |  | 2022-11-25 11:42 | 2022-11-27 10:13
54324 | Broken mixing equipment | Kay Munro | 01806 522461/01595 7 | ESTATES | DENTAL | BRAE |  | FRASER | ACT |  |  | 2022-11-23 14:58 | 2022-11-26 12:29
54323 | Ultrasound room needs ceiling tiles | Jennifer | 3119 | Repair | GBH | X-RAY |  | MARTIN | ACT |  |  | 2022-11-23 12:36 | 2022-11-26 10:06
54320 | Air Cion unit not working | Jennifer | x3582 | Repair | GBH | X-RAY |  | MARTIN | ACT |  |  | 2022-11-23 10:16 | 2022-11-25 16:16
54307 | bLOCKED SINK | LOIS | 3156 | Repair | GBH | WARD3 |  | WINKS | ACT |  |  | 2022-11-21 14:45 | 2022-11-23 13:15
54305 | Suction Vacuum has come of the wall | Irene | 3175 | Repair | GBH | WARD1 |  | MARTIN | ACT |  |  | 2022-11-21 13:44 | 2022-11-23 12:14
54304 | CALLED OUT FOR STEAM | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | WINKS | ACT |  |  | 2022-11-21 13:40 | 2022-11-23 12:11
54302 | tEMP TOO HIGH ON FRIDGE | Janet Graham | 3106 | Repair | GBH | CATERING |  | MIDDLETON | ACT |  |  | 2022-11-21 11:55 | 2022-11-23 10:26
54297 | Door opens and shuts with difficulty | Jessika Swanson | 01806566360 | ESTATES | WHALSAY |  |  | MARTIN | ACT |  |  | 2022-11-21 07:23 | 2022-12-13 12:23
54295 | Faulty door at Brae Dental | Judith Taylor | 01806522461 | ESTATES | BRAE H/C |  |  | MARTIN | ACT |  |  | 2022-11-18 11:02 | 2022-11-20 09:33
54294 | Testing due of autoclaves | Sandy Fraser | 3028 | Repair | DENTAL | MONTFIELD |  | FRASER | ACT |  |  | 2022-11-18 08:19 | 2022-11-20 06:49
54293 | Fault on dental autoclave | Sandy Fraser | 3028 | Repair | DENTAL |  |  | FRASER | ACT |  |  | 2022-11-18 08:17 | 2022-11-20 06:47
54292 | To be available to | Sandy Fraser | 3028 | Repair | GBH | CDU |  | FRASER | ACT |  |  | 2022-11-17 15:52 | 2022-11-20 05:52
54291 | Called out fault on liight switch | Mark Ward | 3028 | ESTATES | GBH | ESTATES |  | WARD | ACT |  |  | 2022-11-17 15:50 | 2022-11-20 05:50
54290 | Brake not working on the commode | Janet Graham | 3028 | Repair | GBH | WARD1 |  | MIDDLETON | ACT |  |  | 2022-11-17 15:47 | 2022-11-20 05:47
54286 | Pick up of clinical waste from | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | RABHI | ACT |  |  | 2022-11-17 12:38 | 2022-11-20 02:38
54280 | Toilet door t the old Sanctuary | Rosie | 3191 | Repair | GBH | SANCTUARY |  | MARTIN | ACT |  |  | 2022-11-19 09:00 | 2022-11-21 23:00
54279 | Upstairs in old info gover room | Andrew cARLYLE | 3609 | ESTATES | BREIWICK | COMPUTING |  | MARTIN | ACT |  |  | 2022-11-16 16:08 | 2022-11-19 13:39
54272 | Please Attend | John Irvine-Sutherland | 01595 743006 | ESTATES | LERWICKH/C | MENTALHLTH |  | RABHI | ACT |  |  | 2022-11-16 10:55 | 2022-11-19 08:25
54271 | Front Door | Adam Czarnobaj |  | ESTATES | LERWICKH/C | MAINTNCE |  | MARTIN | ACT |  |  | 2022-11-16 10:56 | 2022-11-19 08:26
54269 | Water coming through the roof | Edna Williamson | 3475 | Repair | DENTAL | GBH |  | MARTIN | ACT |  |  | 2022-11-16 09:19 | 2022-11-18 16:04
54268 | Instruments jammed in autoclave | Geraldine | 3307 | Repair | GBH | CDU |  | WARD | ACT |  |  | 2022-11-16 09:20 | 2022-11-18 15:21
54267 | Bollard to be repaired or replaced | Martin | 3308 | Repair | BIXTER H/C |  |  | MILLER | ACT |  |  | 2022-11-15 16:02 | 2022-11-18 13:32
54263 | Socket to be moved | Martin | 3308 | Repair | YELL H/C |  |  | MILLER | ACT |  |  | 2022-11-15 14:49 | 2022-11-18 12:20
54261 | There is a leak coming from the bracket table | Carol Dade | 01595743668 | ESTATES | DENTAL | MONTFIELD |  | FRASER | ACT |  |  | 2022-11-15 14:36 | 2022-11-18 12:06
54258 | Attend Hillswick with DH Marine etc | Martin | 3308 | Repair | HILLSWH/C |  |  | MILLER | ACT |  |  | 2022-11-15 11:14 | 2022-11-18 08:44
54256 | TV NOT WORKING | Janet Graham | 3175 | Repair | GBH | WARD1 |  | MIDDLETON | ACT |  |  | 2022-11-15 09:24 | 2022-11-17 15:24
54250 | Boiler to be reset | Pat Miller | 3028 | ESTATES | GBH | ESTATES |  | MILLER | ACT |  |  | 2022-11-14 11:21 | 2022-11-16 09:52
54249 | Called out steam isolation | Pat Miller | 3028 | ESTATES | GBH | ESTATES |  | MILLER | ACT |  |  | 2022-11-14 11:18 | 2022-11-16 09:48
54246 | Smoke/Fire Detector Fault | Peter Gaines | 01595 743033 | ESTATES | HARLEY ST |  |  | MARTIN | ACT |  |  | 2022-11-14 13:00 | 2022-12-07 09:30
54245 | Assist Bryden with Ward 3 DB work | Martin | 3308 | Repair | GBH | WARD3 |  | MILLER | ACT |  |  | 2022-11-11 15:50 | 2022-11-13 14:20
54244 | Air-con has error showing in pharmacy | Martin | 3308 | Repair | GBH | PHARMACY |  | MIDDLETON | ACT |  |  | 2022-11-11 15:19 | 2022-11-13 13:50
54242 | Autoclave - water leaking from the back | Janet Graham | 3011 | Repair | GBH | LABORATORY |  | FRASER | ACT |  |  | 2022-11-11 12:03 | 2022-11-13 10:33
54235 | Fit Blinds | Iain Sloan | 743308 | Repair | LERWICKH/C | MENTALHLTH |  | FREELAND | ACT |  |  | 2022-11-10 15:08 | 2022-11-11 15:08
54233 | Fit socket | Iain Sloan | 743308 | Repair | GBH |  |  | MILLER | ACT |  |  | 2022-11-10 15:02 | 2022-11-11 15:02
54226 | attend meeting | Iain Sloan | 743308 | Repair | GBH |  |  | WARD | ACT |  | Yes | 2022-11-09 13:52 | 2022-11-10 13:52
54225 | Dry Scopes | Iain Sloan | 743308 | Repair | GBH | CDU |  | WARD | ACT |  | Yes | 2022-11-09 13:49 | 2022-11-10 13:49
54224 | Test Chemicals | Iain Sloan | 743308 | Repair | GBH | CDU |  | WARD | ACT |  | Yes | 2022-11-09 13:45 | 2022-11-10 13:45
54221 | Repair trolley | Iain Sloan | 743308 | Repair | GBH | PORTERS |  | MIDDLETON | ACT |  | Yes | 2022-11-09 11:29 | 2022-11-10 11:29
54220 | Repair trolley | Iain Sloan | 743308 | Repair | GBH | PORTERS |  | MIDDLETON | ACT |  | Yes | 2022-11-09 11:27 | 2022-11-10 11:27
54219 | Repair lights | Iain Sloan | 743308 | Repair | SCALLOWAY |  |  | MILLER | ACT |  | Yes | 2022-11-09 11:20 | 2022-11-10 11:20
54218 | Cold taps stiff | Iain Sloan | 743308 | Repair | GBH | MATERNITY |  | WINKS | ACT |  | Yes | 2022-11-09 11:17 | 2022-11-10 11:17
54217 | Sink Leak | Iain Sloan | 743308 | Repair | GBH | DAYSURGERY |  | WINKS | ACT |  | Yes | 2022-11-09 10:17 | 2022-11-10 10:17
54215 | Fit opaque film to windows | Iain Sloan | 743308 | Repair | GBH | RONAS |  | REID | ACT |  | Yes | 2022-11-09 09:33 | 2022-11-10 09:33
54214 | Fit opaque film | Iain Sloan | 743308 | Repair | MON |  |  | REID | ACT |  | Yes | 2022-11-08 17:00 | 2022-11-09 17:00
54211 | Fit EV signs at 4 charge ponts | Iain Sloan | 01595743308 | Repair | MON |  |  |  | ACT |  | Yes | 2022-11-08 10:04 | 2022-11-09 10:04
54210 | Fit diffusers to lights in Patient Travel | Iain sloan | 01595743308 | Repair | MON |  |  | MILLER | ACT |  | Yes | 2022-11-07 15:43 | 2022-11-08 15:43
54209 | Fit Diffusers | Iain Sloan |  | Repair | MON |  |  | MILLER | ACT |  | Yes | 2022-11-05 11:07 | 2022-11-05 15:07
54207 | Battery Box needs to be emptied | Main Reception | 3001 | Repair | GBH | RECEPTION |  | MARTIN | ACT |  | Yes | 2022-11-04 11:46 | 2022-11-06 10:17
54198 | Window is blown and hinge needs repaired | Martin | 3308 | Repair | LEVENWICK |  |  | MARTIN | ACT |  | Yes | 2022-11-02 14:08 | 2022-11-05 11:39
54193 | 2 blinds required for mental health rooms | Martin | 3308 | Repair | LERWICKH/C | MENTALHLTH |  | REID | ACT |  | Yes | 2022-11-01 12:14 | 2022-11-04 09:45
54191 | Monitor bleeping continually | Janet Graham | 3156 | Repair | GBH | WARD3 |  | MIDDLETON | ACT |  | Yes | 2022-11-01 10:59 | 2022-11-04 08:30
54190 | Borrow an allan key | Kirsty | 3012 | Repair | GBH | MATERNITY |  | MARTIN | ACT |  | Yes | 2022-11-01 10:46 | 2022-11-04 08:17
54187 | Check gullies and drainage, see email attached | Martin | 3308 | Repair | LEVENWICK |  |  | WINKS | ACT |  | Yes | 2022-11-01 13:19 | 2022-11-02 13:19
54183 | Sinks overflowing not draining | Janet Graham | 3037 | Repair | GBH | DAYSURGERY |  | MARTIN | ACT |  | Yes | 2022-10-31 11:24 | 2022-11-02 09:55
54182 | Needing shelving cut to allow lockers to fit | Carol Laurenson | 01806 522543 | ESTATES | BRAE H/C |  |  | MARTIN | ACT |  | Yes | 2022-10-31 11:21 | 2022-11-02 09:52
54181 | Misc jobs at Brae Hc | Carol Laurenson | 01806 522543 | Repair | BRAE H/C |  |  | WINKS | ACT |  | Yes | 2022-11-01 10:11 | 2022-11-02 10:11
54179 | Day surgery scrubber in theatre DSR faulty | Martin | 3308 | Repair | GBH | THEATRE |  | MILLER | ACT |  | Yes | 2022-10-31 09:49 | 2022-11-02 08:19
54177 | Dishwasher over flowing | Servery | 3107 | Repair | GBH | CATERING |  | MARTIN | ACT |  | Yes | 2022-10-28 15:29 | 2022-10-30 14:00
54174 | Temperature far to hot | Janet Graham | 3037 | Repair | GBH | DAYSURGERY |  | MARTIN | ACT |  | Yes | 2022-10-27 14:53 | 2022-10-30 05:38
54173 | Old Fridges to be removed | Claire |  | Repair | GBH | LABORATORY |  | MARTIN | ACT |  | Yes | 2022-10-27 15:16 | 2022-10-30 05:17
54169 | Curtain rail to be fitted in office | Martin | 3308 | Repair | GBH | PHYSIO |  | REID | ACT |  | Yes | 2022-10-27 12:49 | 2022-10-30 02:50
54161 | Chemicals require to be changed on vision | Geraldine | 3191 | Repair | GBH | CDU |  | FRASER | ACT |  | Yes | 2022-10-26 15:42 | 2022-10-29 13:12
54157 | Create and fit 2 simple desk backs | Ryan Sandison | 3126 | ESTATES | GBH | MEDICALREC |  | MARTIN | ACT |  | Yes | 2022-10-26 12:03 | 2022-10-29 09:34
54156 | Door handle coming off dispensary door | Martin | 3308 | Repair | BIXTER H/C |  |  | FREELAND | ACT |  | Yes | 2022-10-26 10:09 | 2022-10-28 16:09
54155 | Measure up for a blind in physio office | Martin | 3308 | Repair | GBH | PHYSIO |  | FREELAND | ACT |  | Yes | 2022-10-26 09:00 | 2022-10-28 15:00
54154 | Water leaking across ceiling | Janet Graham | x2325 | Repair | BIXTER H/C |  |  | WINKS | ACT |  | Yes | 2022-10-25 14:47 | 2022-10-28 13:02
54153 | Fire panel activated | Janet Graham | 3028 | Repair | GBH | ESTATES |  | MIDDLETON | ACT |  | Yes | 2022-10-25 14:23 | 2022-10-28 12:39
54149 | Close L. Turners office window as faulty | Martin | 3308 | Repair | GBH | UNITOFFICE |  | RABHI | ACT |  | Yes | 2022-10-24 15:35 | 2022-10-26 14:06
54145 | Patient toilet blocked | Janet Graham | 3156 | Repair | GBH | WARD3 |  | WINKS | ACT |  | Yes | 2022-10-24 10:47 | 2022-10-26 09:18
54143 | Lights out in the theatre area | Edna Peterson | 3150 | Repair | GBH | THEATRE |  | MILLER | ACT |  | Yes | 2022-10-24 10:43 | 2022-10-26 09:13
54140 | No lights in corridor stairwell | Community Nurse | 3523 | Repair | GBH |  |  | MARTIN | ACT |  | Yes | 2022-10-24 10:06 | 2022-10-26 08:37
54135 | Fire in lounge | Felicity MacKenzie | 07900 275288 | ESTATES | ACCOM | FAIR ISLE |  | MARTIN | ACT |  | Yes | 2022-10-24 13:02 | 2022-10-26 08:33
54134 | Room 3 | Eloise Smith |  | ESTATES | GBH | WARD3 |  | REID | ACT |  | Yes | 2022-10-24 08:51 | 2022-10-25 15:52
54130 | Loose roof tile | Pauline Moncrieff | 3648 | ESTATES | DENTAL | MONTFIELD |  | REID | ACT |  | Yes | 2022-10-21 14:11 | 2022-10-23 12:41
54129 | Window won't close. | Linda Turner | 3649 | ESTATES | GBH |  |  | MARTIN | ACT |  | Yes | 2022-10-21 14:01 | 2022-10-23 12:31
54123 | To be available 19/10/22 | Mark Ward | 3028 | Repair | GBH | ESTATES |  | WARD | ACT |  | Yes | 2022-10-20 12:47 | 2022-10-23 02:48
54122 | blind | Christina McDavitt | 01595743056 | ESTATES | GBH | OUTPATIENT |  | REID | ACT |  | Yes | 2022-10-20 12:45 | 2022-10-23 02:45
54121 | Paint | Christina McDavitt | 01595743056 | ESTATES | GBH |  |  | LAMMING | ACT |  | Yes | 2022-10-22 12:44 | 2022-10-25 10:44
54120 | PAT testing | Christina McDavitt | 01595743056 | ESTATES | GBH | OUTPATIENT |  | REID | ACT |  | Yes | 2022-10-22 12:43 | 2022-10-25 10:43
54117 | Kitchen Dishwasher Leaking | Billy Middleton | 3399 | Repair | GBH | CATERING |  | MIDDLETON | ACT |  | Yes | 2022-10-19 11:33 | 2022-10-22 09:04
54101 | Called out no steam | Mark Ward | 3028 | ESTATES | GBH | ESTATES |  | WARD | ACT |  | Yes | 2022-10-17 09:53 | 2022-10-19 08:23
54099 | Assist M. Ward wth low inlet pressure issues | Martin | 3308 | Repair | GBH | CDU |  | WINKS | ACT |  | Yes | 2022-10-17 09:47 | 2022-10-19 08:17
54098 | 2 bedded bay blind has fallen down | Martin | 3308 | Repair | GBH | WARD1 |  | REID | ACT |  | Yes | 2022-10-17 09:46 | 2022-10-19 08:16
54094 | Ward 3 lift button faulty | Janet Graham | 3028 | ESTATES | GBH | ESTATES |  | OLDBURY | ACT |  | Yes | 2022-10-14 10:05 | 2022-10-16 08:35
54092 | Steam leak in the LAUNDRY | Arlene | 30158 | Repair | GBH | LAUNDRY |  | MIDDLETON | ACT |  | Yes | 2022-10-13 16:08 | 2022-10-16 06:53
54091 | Asset list of sterilisers for dental | Martin | 3308 | Repair | GBH | CDU |  | WARD | ACT |  | Yes | 2022-10-14 08:07 | 2022-10-16 06:37
54087 | Kitchen tap potentially loose | John Irvine-Sutherland | 01595 743006 | ESTATES | LERWICKH/C | MENTALHLTH |  | WINKS | ACT |  | Yes | 2022-10-13 12:02 | 2022-10-16 02:03
54086 | Strip light out in Theatre 1 | Rosie | 3181 | Repair | GBH | THEATRE |  | MARTIN | ACT |  | Yes | 2022-10-14 08:03 | 2022-10-17 22:33
54085 | Panel behind sluice is coming off the wall | Martin | 3308 | Repair | GBH | MATERNITY |  | REID | ACT |  | Yes | 2022-10-12 15:54 | 2022-10-15 13:24